INTERNATIONAL PHARMACEUTICALS, INC.

B. Suico St., Tingub, Mandaue City, 6014 Philippines

QUALITY CONTROL LABORATORY

MICROBIOLOGY ANALYSIS REPORT

Form No.: F-QCL-04  |  Rev. No.: 01  |  Approved by: Pres & CEO  |  Date: 30 Apr 2019

| Category | Environmental Monitoring | Date & Time Received | 08/12/2026; 09:15 AM |
| --- | --- | --- | --- |
| Name of Sample | Environmental Swab — E26-031 | Date & Time Released | 08/14/2026; 04:30 PM |
| Date Mfd. | N/A | Batch/Lot No. | E26-031 |
| Expiry Date | N/A | Requested by | CODINERA, R.V. |
| Purpose | Microbial Analysis — Environmental Monitoring | Logbook | MIC-09 p.045 ML-ENVI-26-0031 |

Swab Positions — Control #: E26-031

| SAMPLE LOCATION | CATEGORY | SPECIFICATION | RESULTS | REMARKS |
| --- | --- | --- | --- | --- |
| ST1 - Inner Dome | STORAGE TANKS | NMT 10 cfu/swab | < 10 cfu/swab | Passed |
| ST1 - Outer Dome | STORAGE TANKS | NMT 10 cfu/swab | < 10 cfu/swab | Passed |
| ST1 - Body | STORAGE TANKS | NMT 10 cfu/swab | Negative | Passed |
| ST2 - Inner Dome | STORAGE TANKS | NMT 10 cfu/swab | < 10 cfu/swab | Passed |
| ST2 - Outer Dome | STORAGE TANKS | NMT 10 cfu/swab | < 10 cfu/swab | Passed |
| SP01 - Body | LIQUID DETERGENT | NMT 10 cfu/swab | < 10 cfu/swab | Passed |
| SP01 - Nozzle 1 | LIQUID DETERGENT | NMT 10 cfu/swab | Negative | Passed |
| SP01 - Nozzle 2 | LIQUID DETERGENT | NMT 10 cfu/swab | < 10 cfu/swab | Passed |
| MX01 - Stirrer | LIQUID DETERGENT | NMT 10 cfu/swab | < 10 cfu/swab | Passed |
| MX01 - Inner Wall | LIQUID DETERGENT | NMT 10 cfu/swab | Negative | Passed |
| AKASH1 - Filling Head 1 | FILLING-AKASH 1 | NMT 10 cfu/swab | < 10 cfu/swab | Passed |
| AKASH1 - Filling Head 2 | FILLING-AKASH 1 | NMT 10 cfu/swab | < 10 cfu/swab | Passed |
| LEEPACK - Nozzle 1 | FILLING-LEEPACK | NMT 10 cfu/swab | < 10 cfu/swab | Passed |
| LEEPACK - Nozzle 2 | FILLING-LEEPACK | NMT 10 cfu/swab | Negative | Passed |
| MV01 - Inner Surface | MV01 | NMT 10 cfu/swab | > 10 cfu/swab | FAILED |

| Analyzed by: | Checked by: | Date Released: |
| --- | --- | --- |
| ALBESA, M.J. | SUMALPONG, R. | 08/14/2026 |